## 英文
Question | Answer | Answer
Sense-U Sock Shoe cannot be paired. | Here’s how to troubleshoot pairing issues with your Sense-U Smart Sock Shoe : 1. Check Bluetooth & Device Settings Ensure Bluetooth is enabled on your smartphone/tablet. For Android users: Go to Settings → Location and turn it ON (required for Bluetooth pairing). Under App Permissions, ensure the Sense-U Baby app has Location access. For iOS users: Check that Bluetooth is enabled in Settings. 2. Power On & Pairing Mode Long-press the power button on the Sock Shoe sensor to turn it on. Double-click the power button until it flashes BLUE (this means it's in pairing mode). 3. Remove Interference Keep the sensor within 50 feet (15 meters) of your phone in an open space. Avoid obstacles (walls, metal objects) that weaken the Bluetooth signal. Turn off other nearby Bluetooth devices to prevent interference. 4. Reboot & Re-pair Restart your phone and reopen the Sense-U Baby app. If previously paired with another device, log out of the app on that device first. Follow the in-app pairing instructions again. 5. Battery Check Charge the sensor for at least 30 minutes if the battery is low. A solid GREEN light means it's fully charged. Still Not Working? Reset the sensor: Hold the power button for 10+ seconds until it turns off, then restart. Reinstall the Sense-U Baby app and try pairing again. Contact support@sense-u.com or use in-app support (Me → Contact Us). Let me know if you need further help! | If you are experiencing difficulty pairing your Sense-U Sock Shoe device with the Sense-U Baby App, please follow the steps below carefully: 1. Enable Bluetooth & Location Services Bluetooth must be turned ON. Location Services must also be enabled for Android Devices. 2. Check the Battery Level Ensure that the Baby Sensor has sufficient battery power. If necessary, please charge the device for at least 30 minutes before attempting to pair. 3. Enter Pairing Mode Press and hold the power button to turn on the device, then double-press the power button until the blue indicator light flashes. This indicates that the device is in pairing mode. 4. Keep Devices Close During the pairing process, ensure the sock device and your smartphone are placed within close proximity for best Bluetooth signal strength. 5. Unpair the Device (If Previously Connected) Tap the Settings (gear icon) on the home screen, select ""Remove Device"", proceed to re-pair the device. Still Need Help? Please contact Sense-U Support at Email: support@sense-u.com with screenshot of your app.
Sense-U Sock Shoe (Long Range) cannot be paired. | Here’s a concise troubleshooting guide for your Sense-U Sock Shoe (Long Range) pairing issue: Quick Fixes: Sensor Preparation: Long-press the power button to turn on the sensor. Double-click the power button until it flashes BLUE (pairing mode). Base Station Check: Ensure the Base Station flashes BLUE (ready to pair). If not, reset it with the pin button (hold 5+ seconds). Look for a pulsing GREEN circle (connected) or solid YELLOW dot (disconnected). Wi-Fi Requirements: Must use 2.4GHz Wi-Fi (5GHz/hotspots won’t work). Disable "Smart Connect" or dual-band features if pairing fails. Proximity & Power: Keep the sensor within 3 feet of the Base Station during pairing. Charge the sensor fully (solid GREEN light = charged). Restart: Unplug the Base Station for 10 seconds, then retry. If Still Failing: Router-Specific Guides: For Eero: Pause 5GHz For Wi-Fi 6: ASUS Guide Need more help? Contact: In-App: Sense-U Baby app → Me → Contact Us Email: support@sense-u.com Let me know if any step needs clarification! | If you are experiencing difficulty pairing your Sense-U Sock Shoe (Long Range) device, please follow the steps below to troubleshoot: 1. Base Station Setup Flashing Blue Light: Base Station is in pairing mode with smartphone. Flashing Green Light: Base Station is in pairing mode with Sock Shoe. Wi-Fi must be 2.4GHz, 5GHz networks are not supported. 2. Activate the Baby Sensor Press and hold the power button to turn on the device, then double-press the power button until the blue indicator light flashes. This indicates that the device is in pairing mode. 3. Keep Devices Close During the pairing process, ensure the sock device and the base station are placed within close proximity for best Bluetooth signal strength. 4.Reset the Base Station Use pin to reset the base station, then proceed the re-pairing. If the above methods do not work, please try resetting the base station. Still Need Help? Please contact Sense-U Support at Email: support@sense-u.com with screenshot of your app & your router model.
Sense-U Sock Shoe cannot connect. | Here's how to troubleshoot your Sense-U Sock Shoe connection issues: Step-by-Step Solution: Power & Pairing Mode Long-press the power button to turn on the sensor. Double-click the power button to enter pairing mode (should flash BLUE). Bluetooth & Location Settings Android: Enable Bluetooth and Location (required for pairing). Go to: Settings → Apps → Sense-U Baby → Permissions → Enable Location. iOS: Ensure Bluetooth is on in Settings. Battery Check Charge the sensor for 30+ minutes (solid GREEN light = fully charged). Use only a 5V/1A charger (fast chargers not supported). Connection Optimization Keep the sensor within 10 feet (3 meters) of your phone. Close other Bluetooth devices to reduce interference. App & Device Reset Force-close and reopen the Sense-U Baby app. Restart your smartphone. Still Not Working? Factory Reset the Sensor: Press and hold the power button for 15+ seconds until the light turns off, then retry pairing. Contact Support: In-App: Sense-U Baby app → Me → Contact Us Email: support@sense-u.com Let me know if you need further help! | If your Sense-U Sock Device keeps disconnecting after pairing, please follow the steps below to improve connection stability: 1. Keep Phone and Device in Close Proximity For best performance, keep the smartphone and sock device in the same room. Be aware that walls, furniture, mattresses, or the baby’s body can block the signal. 2. Keep the App Running in the Foreground While background mode is supported, your phone may close the app after long periods in the background, causing disconnection. 3. Check the Battery Level Ensure the device has sufficient battery power. Low battery may affect the Bluetooth signal. 4. Test the Device’s Bluetooth Signal Install the "LightBlue" app to verify the device’s Bluetooth signal strength and connectivity by following the instructions. If Disconnection Persists: Restart the mobile phone and relaunch the Sense-U app. Re-pair the device if necessary: Go to App → Device Settings → Delete Device Activate pairing mode again (double-press power button until blue flashes) Still Need Help? Please contact Sense-U Support at Email: support@sense-u.com with screenshot of your app
Sense-U Sock Shoe (Long Range) cannot connect. | Here's a comprehensive troubleshooting guide for your Sense-U Sock Shoe (Long Range) connection issues: Step-by-Step Solutions: Power & Pairing Mode Long-press the power button to turn on the sensor Double-click the power button until it flashes BLUE (pairing mode) If no light appears, charge the sensor for 30+ minutes (solid GREEN = fully charged) Base Station Check Ensure the Base Station is powered on and flashing BLUE (ready to pair) If not, reset it by pressing the small reset button with a pin for 5+ seconds Check indicator lights: Pulsing GREEN = Connected Solid YELLOW = Disconnected (move sensor closer) Wi-Fi Requirements Must use 2.4GHz Wi-Fi network (5GHz not supported) Temporarily disable "Smart Connect" or dual-band features in router settings For specific routers: Eero: Pause 5GHz Wi-Fi 6: ASUS Guide Proximity & Interference Keep sensor within 3 feet (1 meter) of Base Station during pairing Move away from other Bluetooth devices (including other Sense-U products) Reset & Retry Unplug Base Station power for 10 seconds, then reconnect Restart your smartphone and reopen Sense-U Baby app Advanced Troubleshooting: Check router settings to ensure: WPA2 security (WPA3 may cause issues) No MAC address filtering is enabled Channel width set to 20MHz (not 40/80MHz) Still Having Issues? Contact Sense-U Support: In-App: Sense-U Baby app → Me → Contact Us Email: support@sense-u.com Include details: router model, phone OS version, error messages Would you like me to focus on any specific part of this process? | If your Sense-U Sock Shoe (Long Range) Device keeps disconnecting after pairing, please follow the steps below to improve connection stability: 1. Device Placement Ensure that the Baby Sensor and the Base Station are located in the same room and placed within close range 2. If the LED Shows Yellow (Disconnected) Perform the following steps in order: a. Move Devices Closer Bring the Baby Sensor closer to the Base Station. The sensor should reconnect automatically if within Bluetooth range. b. Restart the Base Station Unplug the power adapter. Wait 10 seconds and plug it back in. c. Re-Pair the Baby Sensor Open the Sense-U App. Navigate to: Settings → Manage Devices → Remove Device Tap “Add Device” and follow on-screen instructions to pair again. 3. Battery Level Check Ensure the device has sufficient battery power. Low battery may affect the Bluetooth signal. 4. Refresh the App Interface If the LED shows solid green but the app displays the sensor as “offline”: Tap the On/Off toggle button in the app Or switch the app between foreground and background mode to refresh the status Still Need Help? Please contact Sense-U Support at Email: support@sense-u.com with screenshot of your app
How to wear Sense-U Sock Shoe? | Here are the steps to properly wear the Sense-U Smart Sock Shoe: Choose the Right Size: Select a size that fits snugly but not too tight. It should allow your baby's skin to breathe and ensure accurate measurements. Attach the Sensor Correctly: Align the sensor in the correct direction on the Sock Shoe. Ensure it’s securely attached but can be detached when needed. Wearing the Sock Shoe: Put the Sock Shoe on your baby’s foot, ensuring it fits comfortably—neither too tight nor too loose. Important: Remove the sock immediately if you notice any redness, swelling, or skin irritation. Alternate between the left and right foot daily to prevent skin irritation. Comfort Check: Regularly check for signs of discomfort or irritation, especially during prolonged use. For more details, refer to the Sense-U Smart Sock Shoe User Manual. Let me know if you need further assistance! | To ensure accurate monitoring and your baby’s comfort, please follow the instructions below when using the Sense-U Sock Shoe. 1. Choose the Correct Size Select a sock shoe that fits snugly, allowing room for toes to move freely. Avoid using socks that are: Too tight, which may cause redness or irritation. Too loose, which may lead to poor sensor contact and result in inaccurate readings. 2. Attach the Sensor Align the arrow on the sensor with the direction of the sock shoe's toe area (the sensor must face upward). Press the sensor firmly into the socket until it clicks into place. 3. Put On the Sock Shoe Gently slide the sock shoe onto your baby’s foot. Ensure that the sensor sits on top of the foot, not under the sole. Fasten the sock shoe securely, but check that it is comfortable and does not leave marks on the skin. 4. Daily Care & Usage Alternate between left and right feet daily to prevent localized skin pressure or irritation. Remove the sock immediately if you observe any redness, swelling, or signs of discomfort. Still Need Help? Please contact Sense-U Support at Email: support@sense-u.com
How to wear Sense-U Sock Shoe (Long Range)? | Here’s how to properly wear the Sense-U Smart Sock Shoe (Long Range Version) for accurate measurements and comfort: Steps to Wear: Choose the Correct Size: Select a size that fits snugly but is not too tight or too loose. Ensure there’s enough room for your baby’s skin to breathe. Attach the Sensor Correctly: Align the sensor with the designated area on the sock shoe. Ensure the sensor is placed in the correct direction (refer to the manual for orientation). Wearing Guidelines: Put the sock shoe on your baby’s foot, ensuring it’s secure but not constricting. Alternate feet daily (left/right) to prevent skin irritation or redness. Remove immediately if you notice any signs of discomfort (redness, swelling, or irritation). Important Notes: Fit: A proper fit ensures accurate readings and comfort. Skin Care: Monitor your baby’s skin for any reactions and adjust usage as needed. For further details, consult the [User Manual](insert link if available). Let me know if you need clarification! | To ensure accurate monitoring and your baby’s comfort, please follow the instructions below when using the Sense-U Sock Shoe (Long Range). 1. Choose the Correct Size Select a sock shoe that fits snugly, allowing room for toes to move freely. Avoid using socks that are: Too tight, which may cause redness or irritation. Too loose, which may lead to poor sensor contact and result in inaccurate readings. 2. Attach the Sensor Align the arrow on the sensor with the direction of the sock shoe's toe area (the sensor must face upward). Press the sensor firmly into the socket until it clicks into place. 3. Put On the Sock Shoe Gently slide the sock shoe onto your baby’s foot. Ensure that the sensor sits on top of the foot, not under the sole. Fasten the sock shoe securely, but check that it is comfortable and does not leave marks on the skin. 4. Daily Care & Usage Alternate between left and right feet daily to prevent localized skin pressure or irritation. Remove the sock immediately if you observe any redness, swelling, or signs of discomfort. Still Need Help? Please contact Sense-U Support at Email: support@sense-u.com

## 其他
Question | Answer